[image: image1.jpg]



[image: image2.png]Rubber Washev—l

Chrome Plated Overflow Cover
Plate matches the Chrome
Plated Spring Loaded
Mushroom Plug

Flexible Overflow
Tube adjustable from
330mm - 580mm

Telescopic adjustment to ensure
that a 50mm Water Seal is
maintained irrespective of the
bath thickness

]
=
=

-t

p |

. T Bath

ER——————ae——— Rubber Washer

—|
£~ 109mm
50mm
172" Universal  \ater Seal
Outlet /]

McAlpine & Co Ltd., Kelvin Avenue, Hillington, Glasgow G52 4LF
Tel: 0141 882 3213 Fax: 0141 891 5065 Fax: (Sales Office) 0141 883 5697




	PROJECT
	

	BRAND
	MCALPINE

	MODEL
	HC2650UK

	DESCRIPTION
	11/2” BATH TRAP W/ OVERFLOW & CLICKER WASTE PLUG 50MM SEAL

	COUNTRY
	UK

	COLOUR
	CHROME

	REMARKS
	


